OTDR host software upgrade method

1. In the U-Disk directory, set up a file named "OTDR" folder, upgrade the file FTX-1000.exe into the OTDR folder.

2. Inserting the U disk into the instrument；

3. Wait 10 seconds, click on the system, then click the upgrade button on the lower right corner.

4. If the device is prompted to upgrade, choose yes, then enter the upgrade interface and click the upgrade button.

5. After upgrading, restart the instrument and complete the upgrade.